|  |
| --- |
| Sediment pond maintenance checklist |
| This list has been developed by Melbourne Water for use as a guide by Councils in maintaining sediment ponds. |

|  |  |
| --- | --- |
| **Location** |  |
| **Inspected by** |  |
| **Asset ID** |  |
| **Date and time** |  |

|  |  |  |
| --- | --- | --- |
| **Item Inspected** | **Satisfactory (Y/N/NA)** | **Details of Action Required** |
| **Civil Components** |  |  |
| Safety fences, batters and other public safety features intact? |  |  |
| Inlet erosion, damage or standing water? |  |  |
| Sediment blocking inlet pipe? |  |  |
| Outlet freely draining? |  |  |
| Blocking of outlet pipe? |  |  |
| Sediment level is more than 0.5 m below normal water level? |  |  |
| Overflow structure integrity satisfactory? |  |  |
| No isolated pools with presence of mosquito larvae? |  |  |
| Maintenance drain operational? |  |  |
| **Landscape Components** |  |  |
| Terrestrial vegetation condition satisfactory and of adequate density? |  |  |
| Less than 10% of the basin surface area and batters covered in weeds? |  |  |
| Evidence of damage or vandalism? |  |  |
| Evidence of algal scums? |  |  |
| Evidence of odours? |  |  |